## STT B
VIRGIN ISLANDS WATER & POWER AUTHORITY
St. Thomas - B Composite Pole Project
Haugland Virgin Islands Inc
Bid Form
Item No. | Description | Estimated Qty | Unit of Measure | Unit Cost | Total
1 | Installation of 35' composite stub-poles | 32 | each | 12917.13 | 413348.16
2 | Installation of 45' composite poles | 405 | each | 12917.13 | 5231437.65
3 | Installation of 50' composite poles | 326 | each | 12917.13 | 4210984.38
4 | Installation of 55' composite poles | 17 | each | 12908.67 | 219447.39
5 | Installation of 60' composite poles | 2 | each | 15031 | 30062
6 | Pole installation adder extra depth | 1 | per linear ft | 2818.49 | 2818.49
7 | Pole installation adder for rock | 1 | per linear ft | 1167.61 | 1167.61
8 | Installation of push pole | 3 | each | 8757.08 | 26271.24
9 | Installation of C1 framing | 3 | each | 2009.59 | 6028.77
10 | Installation of C2 framing | 5 | each | 2009.59 | 10047.95
11 | Installation of C3 framing | 4 | each | 2009.59 | 8038.36
12 | Installation of C4 framing | 2 | each | 3349.32 | 6698.64
13 | Installation of C5 framing | 5 | each | 3349.32 | 16746.6
14 | Installation of C6 framing | 2 | each | 3349.32 | 6698.64
15 | Installation of C7 framing | 2 | each | 3349.32 | 6698.64
16 | Installation of C8 framing | 2 | each | 1741.65 | 3483.3
17 | Installation of A4 framing | 112 | each | 1741.65 | 195064.8
18 | Installation of A5 framing | 203 | each | 1339.73 | 271965.19
19 | Installation of B5 framing | 1 | each | 1607.68 | 1607.68
20 | Installation of A1 framing | 168 | each | 803.84 | 135045.12
21 | Installation of A2 framing | 193 | each | 1018.19 | 196510.67
22 | Installation of A3 framing | 87 | each | 1205.76 | 104901.12
23 | Installation of A6 framing | 48 | each | 1875.62 | 90029.76
24 | Grounding of composite poles | 749 | each | 1094.64 | 819885.36
25 | Install guy | 899 | each | 1459.51 | 1312099.49
26 | Install PISA anchor | 276 | each | 2189.27 | 604238.52
27 | Install anchor in rock | 272 | each | 4925.86 | 1339833.92
28 | Installation of communication clamp | 1497 | each | 167.47 | 250702.59
29 | Installation or transfer of Single Transformers (10kVa-75kVa) | 283 | each | 2679.46 | 758287.18
30 | Installation or Transfer of Transformer Banks(10kVa-75kVa) | 5 | each | 8038.38 | 40191.9
31 | Installation of Electric Switches | 21 | each | 10717.84 | 225074.64
32 | Installation of Capacitor Bank | 1 | each | 12057.57 | 12057.57
33 | Installation or transfer of Streetlights | 379 | each | 837.33 | 317348.07
34 | Installation of Pulsecloser/Recloser | 3 | each | 10717.84 | 32153.52
35 | Installation of Cutouts | 48 | each | 2009.59 | 96460.32
36 | Installation of Lightning Arrestors | 16 | each | 1071.78 | 17148.48
37 | Installation or transfer of Solar Panels | 410 | each | 1004.8 | 411968
38 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) de-energized | 1 | each | 2679.46 | 2679.46
39 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) de-energized | 1 | each | 4019.19 | 4019.19
40 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) energized | 29 | each | 4662.26 | 135205.54
41 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) energized | 13 | each | 8038.38 | 104498.94
42 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) de-energizerd | 1 | each | 1339.73 | 1339.73
43 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) de-energized | 1 | each | 2009.59 | 2009.59
44 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) energized | 466 | each | 2009.59 | 936468.94
45 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) energized | 358 | each | 2679.46 | 959246.68
46 | Installation of New Service Conductors to customers | 1 | each | 2009.59 | 2009.59
47 | Re-sagging of wire from pole# to pole # | 1 | linear ft per phase | 13.96 | 13.96
48 | Installation of compressions( all sizes) | 258 | each | 2009.59 | 518474.22
49 | Installation of Armor Rods (per conductor) | 790 | each | 267.95 | 211680.5
50 | Upgrade of New Conductors (4/0 to 397 AAC) energized per conductor | 9384 | linear ft per phase | 15.4 | 144513.6
51 | Upgrade of New Conductors (4/0 to 397 AAC) de-energized per conductor | 1 | linear ft per phase | 11.16 | 11.16
52 | Upgrade of New Conductors ( to 1/0 AAC) energized per conductor | 110838 | linear ft per phase | 12.28 | 1361090.64
53 | Upgrade of New Conductors ( to 1/0 AAC) de-energized per conductor | 1 | linear ft per phase | 10.05 | 10.05
54 | Upgrade of New Secondary Conductors (1/0 to 4/0 Triplex) de-energized | 114133 | linear ft per phase | 11.16 | 1273724.28
55 | Straighten exsisting wood pole | 1 | each | 5636.98 | 5636.98
56 | Grounding of wood poles | 1 | each | 1972.94 | 1972.94
57 | Removal Old Pole | 748 | each | 2642.33 | 1976462.84
58 | Install guy and anchor on exsisting wood pole | 1 | each | 4227.73 | 4227.73
59 | Install push pole wood | 1 | each | 8455.46 | 8455.46
60 | Install wood overhead guy pole | 1 | each | 10217.02 | 10217.02
61 | Install fiberglass fish on existing pole | 1 | each | 2113.87 | 2113.87
62 | Replace all types of insulators on existing poles | 1 | each | 803.84 | 803.84
63 | Install wood pole all sizes | 1 | each | 7398.53 | 7398.53
64 | Single phase wood poles all framing and install or transfer energized | 1 | each | 8038.38 | 8038.38
65 | Single phase wood poles all framing and install or transfer de-energized | 1 | each | 5358.92 | 5358.92
66 | Three phase wood poles all framing and install or transfer energized | 1 | each | 12057.57 | 12057.57
67 | Three phase wood poles all framing and install or transfer de-energized | 1 | each | 8038.38 | 8038.38
68 | Installation of AMI Communication Device | 1 | each | 2009.59 | 2009.59
25142339.84