## STX B
VIRGIN ISLANDS WATER & POWER AUTHORITY
St. Croix - B Composite Pole Project
Haugland Virgin Islands Inc
Bid Form
Item No. | Description | Estimated Qty | Unit of Measure | Unit Cost | Total
1 | Installation of 35' composite stub-poles | 70 | each | 12271.27 | 858988.9
2 | Installation of 45' composite poles | 775 | each | 12271.27 | 9510234.25
3 | Installation of 50' composite poles | 726 | each | 12271.27 | 8908942.02
4 | Installation of 55' composite poles | 167 | each | 12263.24 | 2047961.08
5 | Installation of 60' composite poles | 132 | each | 14279.45 | 1884887.4
6 | Pole installation adder extra depth | 1 | per linear ft | 2677.56 | 2677.56
7 | Pole installation adder for rock | 1 | per linear ft | 1109.23 | 1109.23
8 | Installation of push pole | 1 | each | 8319.23 | 8319.23
9 | Installation of C1 framing | 132 | each | 1909.11 | 252002.52
10 | Installation of C2 framing | 72 | each | 1909.11 | 137455.92
11 | Installation of C3 framing | 50 | each | 1909.11 | 95455.5
12 | Installation of C4 framing | 13 | each | 3181.86 | 41364.18
13 | Installation of C5 framing | 4 | each | 3181.86 | 12727.44
14 | Installation of C6 framing | 5 | each | 3181.86 | 15909.3
15 | Installation of C7 framing | 12 | each | 3181.86 | 38182.32
16 | Installation of C8 framing | 16 | each | 1654.57 | 26473.12
17 | Installation of A4 framing | 137 | each | 1654.57 | 226676.09
18 | Installation of A5 framing | 483 | each | 1272.74 | 614733.42
19 | Installation of B5 framing | 1 | each | 1527.29 | 1527.29
20 | Installation of A1 framing | 492 | each | 763.65 | 375715.8
21 | Installation of A2 framing | 340 | each | 967.28 | 328875.2
22 | Installation of A3 framing | 189 | each | 1145.47 | 216493.83
23 | Installation of A6 framing | 106 | each | 1781.84 | 188875.04
24 | Grounding of composite poles | 1877 | each | 1039.9 | 1951892.3
25 | Install guy | 2361 | each | 1386.54 | 3273620.94
26 | Install PISA anchor | 628 | each | 2079.81 | 1306120.68
27 | Install anchor in rock | 609 | each | 4679.57 | 2849858.13
28 | Installation of communication clamp | 3428 | each | 159.09 | 545360.52
29 | Installation or transfer of Single Transformers (10kVa-75kVa) | 474 | each | 2545.49 | 1206562.26
30 | Installation or Transfer of Transformer Banks(10kVa-75kVa) | 10 | each | 7636.46 | 76364.6
31 | Installation of Electric Switches | 15 | each | 10181.95 | 152729.25
32 | Installation of Capacitor Bank | 5 | each | 11454.69 | 57273.45
33 | Installation or transfer of Streetlights | 384 | each | 795.46 | 305456.64
34 | Installation of Pulsecloser/Recloser | 6 | each | 10181.95 | 61091.7
35 | Installation of Cutouts | 131 | each | 1909.11 | 250093.41
36 | Installation of Lightning Arrestors | 33 | each | 1018.19 | 33600.27
37 | Installation or transfer of Solar Panels | 959 | each | 954.56 | 915423.04
38 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) de-energized | 1 | each | 2545.49 | 2545.49
39 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) de-energized | 1 | each | 3818.23 | 3818.23
40 | Installation or Transfer of Three Phase Conductors - tangent (3 phases including neutral) energized | 253 | each | 4429.15 | 1120574.95
41 | Installation or Transfer of Three Phase Conductors- dead end(3 phases including neutral) energized | 54 | each | 7636.46 | 412368.84
42 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) de-energizerd | 1 | each | 1272.74 | 1272.74
43 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) de-energized | 1 | each | 1909.11 | 1909.11
44 | Installation or Transfer of Single Phase Conductors- tangent(Single Phase including neutral) energized | 1046 | each | 1909.11 | 1996929.06
45 | Installation or Transfer of Single Phase Conductors-dead end (Single Phase including neutral) energized | 690 | each | 2545.49 | 1756388.1
46 | Installation of New Service Conductors to customers | 1 | each | 1909.11 | 1909.11
47 | Re-sagging of wire from pole# to pole # | 1 | linear ft per phase | 13.26 | 13.26
48 | Installation of compressions( all sizes) | 504 | each | 1909.11 | 962191.44
49 | Installation of Armor Rods (per conductor) | 2398 | each | 254.55 | 610410.9
50 | Upgrade of New Conductors (4/0 to 397 AAC) energized per conductor | 52797 | linear ft per phase | 14.63 | 772420.11
51 | Upgrade of New Conductors (4/0 to 397 AAC) de-energized per conductor | 1 | linear ft per phase | 10.61 | 10.61
52 | Upgrade of New Conductors ( to 1/0 AAC) energized per conductor | 471529 | linear ft per phase | 11.67 | 5502743.43
53 | Upgrade of New Conductors ( to 1/0 AAC) de-energized per conductor | 1 | linear ft per phase | 9.55 | 9.55
54 | Upgrade of New Secondary Conductors (1/0 to 4/0 Triplex) de-energized | 77398 | linear ft per phase | 10.61 | 821192.78
55 | Straighten exsisting wood pole | 1 | each | 5355.13 | 5355.13
56 | Grounding of wood poles | 1 | each | 1874.29 | 1874.29
57 | Removal Old Pole | 1860 | each | 2510.22 | 4669009.2
58 | Install guy and anchor on exsisting wood pole | 1 | each | 4016.35 | 4016.35
59 | Install push pole wood | 1 | each | 8032.69 | 8032.69
60 | Install wood overhead guy pole | 1 | each | 9706.17 | 9706.17
61 | Install fiberglass fish on existing pole | 1 | each | 2008.17 | 2008.17
62 | Replace all types of insulators on existing poles | 1 | each | 763.65 | 763.65
63 | Install wood pole all sizes | 1 | each | 7028.6 | 7028.6
64 | Single phase wood poles all framing and install or transfer energized | 1 | each | 7636.46 | 7636.46
65 | Single phase wood poles all framing and install or transfer de-energized | 1 | each | 5090.97 | 5090.97
66 | Three phase wood poles all framing and install or transfer energized | 1 | each | 11454.69 | 11454.69
67 | Three phase wood poles all framing and install or transfer de-energized | 1 | each | 7636.46 | 7636.46
68 | Installation of AMI Communication Device | 1 | each | 1909.11 | 1909.11
57489263.48