## Sheet1
Island | project | PoleNo | latitude | longitude | sector | RecType | UnitNo | UnitDescription | WorkDate | UnitQuantity | UM | Install_Repair_Transfer | HandDig_CutKick_Rock | Primary_Secondary_Neutral | SinglePhase_3Phase | Energized_DeEnergized | before_restoration_pole_no
St. Croix | St. Croix - Feeder STX02A | 2-017697 | 17.7511 | -64.666 | Sector 2 | 2. New Wooden Pole Units | 11.5 | Installation of A5 Framing | 2019-12-03 | 1 | EA | [5 empty] | 2-042830
St. Croix | St. Croix - Feeder STX02A | 2-017697 | 17.7511 | -64.666 | Sector 2 | 2. New Wooden Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-03 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-042830
St. Croix | St. Croix - Feeder STX02A | 2-017697 | 17.7511 | -64.666 | Sector 2 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 260 | LF | [5 empty] | 2-042830
St. Croix | St. Croix - Feeder STX02A | 2-017698 | 17.7516 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 11.5 | Installation of A5 Framing | 2019-12-03 | 1 | EA | [5 empty] | 2-042828
St. Croix | St. Croix - Feeder STX02A | 2-017698 | 17.7516 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-03 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-042828
St. Croix | St. Croix - Feeder STX02A | 2-025403 | 17.7507 | -64.6787 | Sector 2 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-08-19 | -2506 | LF | [5 empty] | 2-025403
St. Croix | St. Croix - Feeder STX02A | 2-025403 | 17.7507 | -64.6787 | Sector 2 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-08-19 | 506 | LF | [5 empty] | 2-025403
St. Croix | St. Croix - Feeder STX02A | 2-037502 | 17.7547 | -64.6681 | 2 | 2. New Wooden Pole Units | 135 | Installation of 35 Ft. Wood Poles | 2019-12-02 | 1 | EA |  | Hand Dig
St. Croix | St. Croix - Feeder STX02A | 2-037502 | 17.7547 | -64.6681 | 2 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-02 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-037503 | 17.754 | -64.6643 | 2 | 2. New Wooden Pole Units | 145 | Installation of 45 Ft. Wood Poles | 2019-12-02 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037503 | 17.754 | -64.6643 | 2 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-02 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-037503 | 17.754 | -64.6643 | 2 | 2. New Wooden Pole Units | 11.1 | Installation of A1 Framing | 2019-12-02 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037503 | 17.754 | -64.6643 | 2 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-02 | 1 | EA |  |  |  | Single Phase | Energized
St. Croix | St. Croix - Feeder STX02A | 2-037504 | 17.7503 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-02 | 1 | EA | Install |  |  |  |  | 2-042825
St. Croix | St. Croix - Feeder STX02A | 2-037504 | 17.7503 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 135 | Installation of 35 Ft. Wood Poles | 2019-12-02 | 1 | EA |  | Hand Dig |  |  |  | 2-042825
St. Croix | St. Croix - Feeder STX02A | 2-037504 | 17.7503 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 55 | Installation of 1 Anchor | 2019-12-02 | 1 | EA |  | Hand Dig |  |  |  | 2-042825
St. Croix | St. Croix - Feeder STX02A | 2-037504 | 17.7503 | -64.6672 | Sector 2 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-02 | 1 | EA | [5 empty] | 2-042825
St. Croix | St. Croix - Feeder STX02A | 2-037512 | 17.7259 | -64.6519 | Sector 2 | 3. New Composite Pole Units | 13.1 | Installation of C1/C2 Framing (C1-4 on angle with side guy) | 2019-12-07 | 1 | EA | [5 empty] | 2-025480
St. Croix | St. Croix - Feeder STX02A | 2-037512 | 17.7259 | -64.6519 | Sector 2 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-025480
St. Croix | St. Croix - Feeder STX02A | 2-037512 | 17.7259 | -64.6519 | Sector 2 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-07 | 1 | EA |  | Rock |  |  |  | 2-025480
St. Croix | St. Croix - Feeder STX02A | 2-037512 | 17.7259 | -64.6519 | Sector 2 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-07 | 3 | LF |  | Rock |  |  |  | 2-025480
St. Croix | St. Croix - Feeder STX02A | 2-037512 | 17.7259 | -64.6519 | Sector 2 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-07 | 1 | EA | [5 empty] | 2-025480
St. Croix | St. Croix - Feeder STX02A | 2-037513 | 17.7255 | -64.6515 | Sector 2 | 3. New Composite Pole Units | 14.3 | Installation of C3 Framing | 2019-12-07 | 1 | EA | [5 empty] | 2-025481
St. Croix | St. Croix - Feeder STX02A | 2-037513 | 17.7255 | -64.6515 | Sector 2 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-025481
St. Croix | St. Croix - Feeder STX02A | 2-037513 | 17.7255 | -64.6515 | Sector 2 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-07 | 1 | EA |  | Rock |  |  |  | 2-025481
St. Croix | St. Croix - Feeder STX02A | 2-037513 | 17.7255 | -64.6515 | Sector 2 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-07 | 6 | LF |  | Rock |  |  |  | 2-025481
St. Croix | St. Croix - Feeder STX02A | 2-037513 | 17.7255 | -64.6515 | Sector 2 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-07 | 1 | EA | [5 empty] | 2-025481
St. Croix | St. Croix - Feeder STX02A | 2-037514 | 17.7263 | -64.6486 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-07 | 1 | EA | [5 empty] | 2-025494
St. Croix | St. Croix - Feeder STX02A | 2-037514 | 17.7263 | -64.6486 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-025494
St. Croix | St. Croix - Feeder STX02A | 2-037514 | 17.7263 | -64.6486 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-07 | 8 | LF |  | Rock |  |  |  | 2-025494
St. Croix | St. Croix - Feeder STX02A | 2-037514 | 17.7263 | -64.6486 | Sector 1 | 3. New Composite Pole Units | 260 | Installation of 60 Ft. Composite Poles | 2019-12-07 | 1 | EA |  | Rock |  |  |  | 2-025494
St. Croix | St. Croix - Feeder STX02A | 2-037514 | 17.7263 | -64.6486 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-07 | 1 | EA | [5 empty] | 2-025494
St. Croix | St. Croix - Feeder STX02A | 2-037688 | 17.7516 | -64.6668 | 2 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 260 | LF
St. Croix | St. Croix - Feeder STX02A | 2-037688 | 17.7516 | -64.6668 | 2 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037689 | 17.7515 | -64.6665 | 2 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 220 | LF
St. Croix | St. Croix - Feeder STX02A | 2-037689 | 17.7515 | -64.6665 | 2 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037690 | 17.7514 | -64.6662 | 2 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 230 | LF
St. Croix | St. Croix - Feeder STX02A | 2-037690 | 17.7514 | -64.6662 | 2 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037691 | 17.7565 | -64.6695 | 2 | 2. New Wooden Pole Units | 55 | Installation of 1 Anchor | 2019-12-02 | 1 | EA |  | Hand Dig
St. Croix | St. Croix - Feeder STX02A | 2-037973 | 17.7542 | -64.5935 | Sector 1 | 3. New Composite Pole Units | 53 | Push Pole Installation | 2019-12-06 | 1 | EA |  | Rock |  |  |  | 2-025842
St. Croix | St. Croix - Feeder STX02A | 2-037973 | 17.7542 | -64.5935 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-06 | 7 | LF |  | Rock |  |  |  | 2-025842
St. Croix | St. Croix - Feeder STX02A | 2-037973 | 17.7542 | -64.5935 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-025842
St. Croix | St. Croix - Feeder STX02A | 2-037973 | 17.7542 | -64.5935 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-06 | 1 | EA | [5 empty] | 2-025842
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 13.1 | Installation of C1/C2 Framing (C1-4 on angle with side guy) | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-05 | 1 | EA |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-05 | 7 | LF |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-05 | 1 | EA |  |  |  | 3-Phase | Energized
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 31 | Streetlights | 2019-12-05 | 1 | EA | Transfer
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 193 | LF
St. Croix | St. Croix - Feeder STX02A | 2-037993 | 17.7593 | -64.6114 | Sector 1 | 3. New Composite Pole Units | 101.5 | Top Pole | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-037995 | 17.7574 | -64.5873 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-05 | 1 | EA | [5 empty] | 2-026755
St. Croix | St. Croix - Feeder STX02A | 2-037995 | 17.7574 | -64.5873 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install |  |  |  |  | 2-026755
St. Croix | St. Croix - Feeder STX02A | 2-037995 | 17.7574 | -64.5873 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-05 | 9 | LF |  | Rock |  |  |  | 2-026755
St. Croix | St. Croix - Feeder STX02A | 2-037995 | 17.7574 | -64.5873 | Sector 1 | 3. New Composite Pole Units | 260 | Installation of 60 Ft. Composite Poles | 2019-12-05 | 1 | EA |  | Rock |  |  |  | 2-026755
St. Croix | St. Croix - Feeder STX02A | 2-037995 | 17.7574 | -64.5873 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-05 | 1 | EA | [5 empty] | 2-026755
St. Croix | St. Croix - Feeder STX02A | 2-037996 | 17.7574 | -64.5866 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-05 | 1 | EA | [5 empty] | 2-026756
St. Croix | St. Croix - Feeder STX02A | 2-037996 | 17.7574 | -64.5866 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install |  |  |  |  | 2-026756
St. Croix | St. Croix - Feeder STX02A | 2-037996 | 17.7574 | -64.5866 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-05 | 8 | LF |  | Rock |  |  |  | 2-026756
St. Croix | St. Croix - Feeder STX02A | 2-037996 | 17.7574 | -64.5866 | Sector 1 | 3. New Composite Pole Units | 260 | Installation of 60 Ft. Composite Poles | 2019-12-05 | 1 | EA |  | Rock |  |  |  | 2-026756
St. Croix | St. Croix - Feeder STX02A | 2-037996 | 17.7574 | -64.5866 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-05 | 1 | EA | [5 empty] | 2-026756
St. Croix | St. Croix - Feeder STX02A | 2-037997 | 17.7575 | -64.5858 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-04 | 1 | EA | [5 empty] | 2-026757
St. Croix | St. Croix - Feeder STX02A | 2-037997 | 17.7575 | -64.5858 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-026757
St. Croix | St. Croix - Feeder STX02A | 2-037997 | 17.7575 | -64.5858 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-04 | 8 | LF |  | Rock |  |  |  | 2-026757
St. Croix | St. Croix - Feeder STX02A | 2-037997 | 17.7575 | -64.5858 | Sector 1 | 3. New Composite Pole Units | 260 | Installation of 60 Ft. Composite Poles | 2019-12-04 | 1 | EA |  | Rock |  |  |  | 2-026757
St. Croix | St. Croix - Feeder STX02A | 2-037997 | 17.7575 | -64.5858 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-04 | 1 | EA | [5 empty] | 2-026757
St. Croix | St. Croix - Feeder STX02A | 2-037998 | 17.7575 | -64.5853 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-04 | 1 | EA | [5 empty] | 2-026758
St. Croix | St. Croix - Feeder STX02A | 2-037998 | 17.7575 | -64.5853 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-026758
St. Croix | St. Croix - Feeder STX02A | 2-037998 | 17.7575 | -64.5853 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-04 | 8 | LF |  | Rock |  |  |  | 2-026758
St. Croix | St. Croix - Feeder STX02A | 2-037998 | 17.7575 | -64.5853 | Sector 1 | 3. New Composite Pole Units | 260 | Installation of 60 Ft. Composite Poles | 2019-12-04 | 1 | EA |  | Rock |  |  |  | 2-026758
St. Croix | St. Croix - Feeder STX02A | 2-037998 | 17.7575 | -64.5853 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-04 | 1 | EA | [5 empty] | 2-026758
St. Croix | St. Croix - Feeder STX02A | 2-037999 | 17.7575 | -64.5846 | Sector 1 | 3. New Composite Pole Units | 14.7 | Installation of C7 Framing | 2019-12-04 | 1 | EA | [5 empty] | 2-026759
St. Croix | St. Croix - Feeder STX02A | 2-037999 | 17.7575 | -64.5846 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-026759
St. Croix | St. Croix - Feeder STX02A | 2-037999 | 17.7575 | -64.5846 | Sector 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-04 | 1 | EA |  | Rock |  |  |  | 2-026759
St. Croix | St. Croix - Feeder STX02A | 2-037999 | 17.7575 | -64.5846 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-04 | 5 | LF |  | Rock |  |  |  | 2-026759
St. Croix | St. Croix - Feeder STX02A | 2-037999 | 17.7575 | -64.5846 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-04 | 1 | EA | [5 empty] | 2-026759
St. Croix | St. Croix - Feeder STX02A | 2-038129 | 17.7542 | -64.6069 | Sector 1 | 3. New Composite Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-05 | 1 | EA | [5 empty] | 2-026488
St. Croix | St. Croix - Feeder STX02A | 2-038129 | 17.7542 | -64.6069 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install |  |  |  |  | 2-026488
St. Croix | St. Croix - Feeder STX02A | 2-038129 | 17.7542 | -64.6069 | Sector 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-05 | 1 | EA |  | Hand Dig |  |  |  | 2-026488
St. Croix | St. Croix - Feeder STX02A | 2-038129 | 17.7542 | -64.6069 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-05 | 1 | EA | [5 empty] | 2-026488
St. Croix | St. Croix - Feeder STX02A | 2-038130 | 17.7544 | -64.6075 | 1 | 3. New Composite Pole Units | 13.1 | Installation of C1/C2 Framing (C1-4 on angle with side guy) | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038130 | 17.7544 | -64.6075 | 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-038130 | 17.7544 | -64.6075 | 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-05 | 1 | EA |  | Hand Dig
St. Croix | St. Croix - Feeder STX02A | 2-038130 | 17.7544 | -64.6075 | 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038134 | 17.7541 | -64.6081 | 1 | 3. New Composite Pole Units | 14.3 | Installation of C3 Framing | 2019-12-06 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038134 | 17.7541 | -64.6081 | 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-038134 | 17.7541 | -64.6081 | 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-06 | 1 | EA |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-038134 | 17.7541 | -64.6081 | 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-06 | 7 | LF |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-038134 | 17.7541 | -64.6081 | 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-06 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 13.1 | Installation of C1/C2 Framing (C1-4 on angle with side guy) | 2019-12-06 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-06 | 1 | EA |  | Hand Dig
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-06 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-06 | 1 | EA |  |  |  | Single Phase | Energized
St. Croix | St. Croix - Feeder STX02A | 2-038135 | 17.7535 | -64.6078 | 1 | 3. New Composite Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-06 | 1 | EA |  |  |  | Single Phase | Energized
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 13.1 | Installation of C1/C2 Framing (C1-4 on angle with side guy) | 2019-12-06 | 1 | EA | [5 empty] | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-06 | 1 | EA |  | Rock |  |  |  | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-06 | 7 | LF |  | Rock |  |  |  | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-06 | 1 | EA | [5 empty] | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038136 | 17.7521 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-06 | 1 | EA |  |  |  | Single Phase | Energized | 2-011231
St. Croix | St. Croix - Feeder STX02A | 2-038143 | 17.7483 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 14.3 | Installation of C3 Framing | 2019-12-07 | 1 | EA
St. Croix | St. Croix - Feeder STX02A | 2-038143 | 17.7483 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX02A | 2-038143 | 17.7483 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 255 | Installation of 55 Ft. Composite Poles | 2019-12-07 | 1 | EA |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-038143 | 17.7483 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-12-07 | 8 | LF |  | Rock
St. Croix | St. Croix - Feeder STX02A | 2-038143 | 17.7483 | -64.6073 | Sector 1 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-12-07 | 1 | EA
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 201 | Use of pole Foam Backfill | 2019-10-30 | -1 | EA | [5 empty] | 2-027757
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 14.3 | Installation of C3 Framing | 2019-10-30 | -1 | EA | [5 empty] | 2-027757
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 101 | Removal of Old Wooden Poles | 2019-10-30 | -1 | EA | [5 empty] | 2-027757
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 265 | Installation of 65 Ft. Composite Poles | 2019-10-30 | -1 | EA |  | Rock |  |  |  | 2-027757
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 202 | Installation of Rock Hole including Backfill material | 2019-10-30 | 16 | LF |  | Rock |  |  |  | 2-027757
St. Croix | St. Croix - Feeder STX06B | 2-017747 | 17.7466 | -64.7736 | Sector 6 | 3. New Composite Pole Units | 57 | Grounding for Poles including existing wood | 2019-10-30 | -1 | EA | Install |  |  |  |  | 2-027757
St. Croix | St. Croix - Feeder STX08B | 2-007060 | 17.7022 | -64.8505 | Sector 10 | 2. New Wooden Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-03 | 2 | EA | Install |  |  | 3-Phase | De-energized | 2-007060
St. Croix | St. Croix - Feeder STX08B | 2-007060 | 17.7022 | -64.8505 | Sector 10 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 660 | LF | [5 empty] | 2-007060
St. Croix | St. Croix - Feeder STX08B | 2-007060 | 17.7022 | -64.8505 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-007060
St. Croix | St. Croix - Feeder STX08B | 2-007060 | 17.7022 | -64.8505 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 660 | LF | [5 empty] | 2-007060
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 14.8 | Installation of C8 Framing | 2019-12-05 | 1 | EA | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-05 | 1 | EA | Transfer |  |  |  |  | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 28.2 | Cutouts-Installation | 2019-12-05 | 3 | EA | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 33 | Lightning Arresters | 2019-12-05 | 3 | EA | Install |  |  |  |  | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-05 | 4 | EA |  |  | Primary,Neutral |  |  | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-05 | 2 | EA | Transfer |  |  | 3-Phase | De-energized | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-05 | 1 | EA | Install |  |  |  |  | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 175 | LF | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 140 | LF | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 700 | LF | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-009406 | 17.6978 | -64.8638 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-05 | 1 | EA | [5 empty] | 2-009406
St. Croix | St. Croix - Feeder STX08B | 2-018179 | 17.701 | -64.8403 | Sector 5 | 1. Repair Existing Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 390 | LF | [5 empty] | 2-028806
St. Croix | St. Croix - Feeder STX08B | 2-018179 | 17.701 | -64.8403 | Sector 5 | 1. Repair Existing Pole Units | 88 | Remove Wire Run | 2019-12-02 | 390 | LF | [5 empty] | 2-028806
St. Croix | St. Croix - Feeder STX08B | 2-019731 | 17.704 | -64.8527 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 700 | LF | [5 empty] | 2-021100
St. Croix | St. Croix - Feeder STX08B | 2-019731 | 17.704 | -64.8527 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-021100
St. Croix | St. Croix - Feeder STX08B | 2-019795 | 17.703 | -64.8511 | 10 | 1. Repair Existing Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-03 | 2 | EA | Transfer
St. Croix | St. Croix - Feeder STX08B | 2-020413 | 17.7049 | -64.8403 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020413
St. Croix | St. Croix - Feeder STX08B | 2-020801 | 17.7037 | -64.8523 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 732 | LF | [5 empty] | 2-020801
St. Croix | St. Croix - Feeder STX08B | 2-020801 | 17.7037 | -64.8523 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-020801
St. Croix | St. Croix - Feeder STX08B | 2-020802 | 17.7033 | -64.8519 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 880 | LF | [5 empty] | 2-020802
St. Croix | St. Croix - Feeder STX08B | 2-020802 | 17.7033 | -64.8519 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-020802
St. Croix | St. Croix - Feeder STX08B | 2-020827 | 17.7024 | -64.8511 | Sector 10 | 2. New Wooden Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-03 | 1 | EA | Install |  |  | 3-Phase | De-energized | 2-020827
St. Croix | St. Croix - Feeder STX08B | 2-020827 | 17.7024 | -64.8511 | Sector 10 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 900 | LF | [5 empty] | 2-020827
St. Croix | St. Croix - Feeder STX08B | 2-020827 | 17.7024 | -64.8511 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-020827
St. Croix | St. Croix - Feeder STX08B | 2-020827 | 17.7024 | -64.8511 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 900 | LF | [5 empty] | 2-020827
St. Croix | St. Croix - Feeder STX08B | 2-020830 | 17.7017 | -64.8506 | Sector 10 | 1. Repair Existing Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-03 | 1 | EA | Install |  |  | 3-Phase | De-energized | 2-020830
St. Croix | St. Croix - Feeder STX08B | 2-020830 | 17.7017 | -64.8506 | Sector 10 | 1. Repair Existing Pole Units | 28.2 | Cutouts-Installation | 2019-12-03 | 3 | EA | [5 empty] | 2-020830
St. Croix | St. Croix - Feeder STX08B | 2-020830 | 17.7017 | -64.8506 | Sector 10 | 1. Repair Existing Pole Units | 33 | Lightning Arresters | 2019-12-03 | 3 | EA | Install |  |  |  |  | 2-020830
St. Croix | St. Croix - Feeder STX08B | 2-020830 | 17.7017 | -64.8506 | Sector 10 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 2 | EA | [5 empty] | 2-020830
St. Croix | St. Croix - Feeder STX08B | 2-020901 | 17.7057 | -64.8394 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020901
St. Croix | St. Croix - Feeder STX08B | 2-020903 | 17.7056 | -64.8397 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020903
St. Croix | St. Croix - Feeder STX08B | 2-020907 | 17.7052 | -64.8404 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020907
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 11.1 | Installation of A1 Framing | 2019-12-06 | 1 | EA | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-06 | 2 | EA |  |  | Primary,Neutral |  |  | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 28.2 | Cutouts-Installation | 2019-12-06 | 1 | EA | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 33 | Lightning Arresters | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-06 | 1 | EA | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-06 | 1 | EA |  |  |  | Single Phase | Energized | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-06 | 2 | EA | Transfer |  |  |  |  | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 250 | LF | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 125 | LF | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 120 | LF | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020910 | 17.7043 | -64.8401 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 50 | LF | [5 empty] | 2-020910
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 11.5 | Installation of A5 Framing | 2019-12-06 | 1 | EA | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-06 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-06 | 2 | EA |  |  | Primary,Neutral |  |  | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-06 | 1 | EA | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 250 | LF | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 125 | LF | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 50 | LF | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 60 | LF | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020913 | 17.7037 | -64.8399 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-06 | 1 | EA | [5 empty] | 2-020913
St. Croix | St. Croix - Feeder STX08B | 2-020916 | 17.7036 | -64.8398 | Sector 5 | 1. Repair Existing Pole Units | 56 | Straightening of Wooden Poles | 2019-12-06 | 1 | EA | [5 empty] | 2-020916
St. Croix | St. Croix - Feeder STX08B | 2-020916 | 17.7036 | -64.8398 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-06 | 1 | EA | [5 empty] | 2-020916
St. Croix | St. Croix - Feeder STX08B | 2-020917 | 17.7054 | -64.8406 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020917
St. Croix | St. Croix - Feeder STX08B | 2-021098 | 17.7043 | -64.8529 | Sector 10 | 1. Repair Existing Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-03 | 1 | EA | Install |  |  | 3-Phase | De-energized | 2-021098
St. Croix | St. Croix - Feeder STX08B | 2-021098 | 17.7043 | -64.8529 | Sector 10 | 1. Repair Existing Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-03 | 536 | LF | [5 empty] | 2-021098
St. Croix | St. Croix - Feeder STX08B | 2-021098 | 17.7043 | -64.8529 | Sector 10 | 1. Repair Existing Pole Units | 88 | Remove Wire Run | 2019-12-03 | 536 | LF | [5 empty] | 2-021098
St. Croix | St. Croix - Feeder STX08B | 2-028804 | 17.7018 | -64.8407 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 400 | LF | [5 empty] | 2-028804
St. Croix | St. Croix - Feeder STX08B | 2-028804 | 17.7018 | -64.8407 | Sector 5 | 2. New Wooden Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-02 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-028804
St. Croix | St. Croix - Feeder STX08B | 2-028804 | 17.7018 | -64.8407 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 400 | LF | [5 empty] | 2-028804
St. Croix | St. Croix - Feeder STX08B | 2-028805 | 17.7013 | -64.8405 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 300 | LF | [5 empty] | 2-028805
St. Croix | St. Croix - Feeder STX08B | 2-028805 | 17.7013 | -64.8405 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 300 | LF | [5 empty] | 2-028805
St. Croix | St. Croix - Feeder STX08B | 2-028807 | 17.7006 | -64.8406 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 200 | LF | [5 empty] | 2-028807
St. Croix | St. Croix - Feeder STX08B | 2-028807 | 17.7006 | -64.8406 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 200 | LF | [5 empty] | 2-028807
St. Croix | St. Croix - Feeder STX08B | 2-028811 | 17.6999 | -64.8408 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 300 | LF | [5 empty] | 2-028811
St. Croix | St. Croix - Feeder STX08B | 2-028811 | 17.6999 | -64.8408 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 300 | LF | [5 empty] | 2-028811
St. Croix | St. Croix - Feeder STX08B | 2-029700 | 17.7058 | -64.8391 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-029700
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-03 | 1 | EA | Transfer |  |  |  |  | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 28.2 | Cutouts-Installation | 2019-12-03 | 3 | EA | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-03 | 2 | EA | Transfer |  |  | Single Phase | De-energized | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-03 | 240 | LF | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 33 | Lightning Arresters | 2019-12-03 | 2 | EA | Install |  |  |  |  | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 80.1 | Upgrade of Conductors (1/0 to 397 AAC) Energized x Conduct | 2019-12-03 | 150 | LF | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 450 | LF | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 3 | EA | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-03 | 1 | EA | Repair |  |  |  |  | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-03 | 960 | LF | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-03 | 1 | EA | [5 empty] | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-034999 | 17.7029 | -64.8515 | Sector 10 | 2. New Wooden Pole Units | 75.3 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)De-Enr | 2019-12-03 | 1 | EA |  |  |  | Single Phase | De-energized | 2-034999
St. Croix | St. Croix - Feeder STX08B | 2-039350 | 17.7003 | -64.8407 | Sector 5 | 1. Repair Existing Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 430 | LF | [5 empty] | 2-028808
St. Croix | St. Croix - Feeder STX08B | 2-039350 | 17.7003 | -64.8407 | Sector 5 | 1. Repair Existing Pole Units | 88 | Remove Wire Run | 2019-12-02 | 430 | LF | [5 empty] | 2-028808
St. Croix | St. Croix - Feeder STX08B | 2-039351 | 17.6996 | -64.8406 | Sector 5 | 1. Repair Existing Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-02 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-028812
St. Croix | St. Croix - Feeder STX08B | 2-044492 | 17.7046 | -64.8412 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-044492
St. Croix | St. Croix - Feeder STX08B | 2-044493 | 17.704 | -64.841 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-05 | 1 | EA | [5 empty] | 2-044493
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-04 | 2 | EA |  |  | Primary,Secondary,Neutral |  |  | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-04 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 2 | EA | Transfer |  |  |  |  | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 123 | LF | [5 empty] | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 119 | LF | [5 empty] | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 238 | LF | [5 empty] | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000701 | 17.7084 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-04 | 1 | EA | [5 empty] | 2-003718
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-04 | 1 | EA |  |  | Neutral |  |  | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 112 | LF | [5 empty] | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000702 | 17.7081 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-04 | 1 | EA | [5 empty] | 2-003717
St. Croix | St. Croix - Feeder STX09B | 2-000703 | 17.7078 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-04 | 1 | EA |  |  |  | Single Phase | Energized | 2-003716
St. Croix | St. Croix - Feeder STX09B | 2-000703 | 17.7078 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-04 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-003716
St. Croix | St. Croix - Feeder STX09B | 2-000703 | 17.7078 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 2 | EA | Transfer |  |  |  |  | 2-003716
St. Croix | St. Croix - Feeder STX09B | 2-000703 | 17.7078 | -64.8103 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 100 | LF | [5 empty] | 2-003716
St. Croix | St. Croix - Feeder STX09B | 2-000704 | 17.7077 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 11.6 | Installation of A6 Framing | 2019-12-07 | 1 | EA | [5 empty] | 2-003715
St. Croix | St. Croix - Feeder STX09B | 2-000704 | 17.7077 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-003715
St. Croix | St. Croix - Feeder STX09B | 2-000704 | 17.7077 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-07 | 2 | EA | Transfer |  |  | Single Phase | Energized | 2-003715
St. Croix | St. Croix - Feeder STX09B | 2-000704 | 17.7077 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 148 | LF | [5 empty] | 2-003715
St. Croix | St. Croix - Feeder STX09B | 2-000704 | 17.7077 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-07 | 1 | EA | [5 empty] | 2-003715
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 145 | Installation of 45 Ft. Wood Poles | 2019-12-04 | 1 | EA |  | Hand Dig |  |  |  | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 55 | Installation of 1 Anchor | 2019-12-04 | 1 | EA |  | Hand Dig |  |  |  | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 11.2 | Installation of A2 Framing | 2019-12-04 | 1 | EA | [5 empty] | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-04 | 1 | EA |  |  |  | Single Phase | Energized | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-04 | 2 | EA | [5 empty] | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 160 | LF | [5 empty] | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000705 | 17.7079 | -64.8099 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-04 | 1 | EA | [5 empty] | 2-003721
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 11.2 | Installation of A2 Framing | 2019-12-05 | 1 | EA | [5 empty] | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-05 | 1 | EA | Transfer |  |  |  |  | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-05 | 1 | EA |  |  |  | Single Phase | Energized | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-05 | 3 | EA | Transfer |  |  |  |  | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-05 | 2 | EA | [5 empty] | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 138 | LF | [5 empty] | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-05 | 125 | LF | [5 empty] | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-05 | 1 | EA | [5 empty] | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000706 | 17.7086 | -64.8086 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-05 | 1 | EA | Install |  |  |  |  | 2-003730
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-06 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 28.2 | Cutouts-Installation | 2019-12-06 | 1 | EA | [5 empty] | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-06 | 2 | EA | Install |  |  |  |  | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 380 | LF | [5 empty] | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-06 | 1 | EA | [5 empty] | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-06 | 1 | EA |  |  | Secondary |  |  | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000707 | 17.7078 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-06 | 2 | EA | Transfer |  |  |  |  | 2-003733
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-07 | 1 | EA |  |  | Secondary |  |  | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-07 | 1 | EA |  |  |  | 3-Phase | Energized | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-07 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 227 | LF | [5 empty] | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 138 | LF | [5 empty] | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 207 | LF | [5 empty] | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-000710 | 17.7077 | -64.8108 | Sector 5 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-003714
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-02 | 2 | EA | [5 empty] | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-02 | 2 | EA | Install |  |  |  |  | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-02 | 2 | EA | Transfer |  |  |  |  | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-02 | 1 | EA | [5 empty] | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 278 | LF | [5 empty] | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 139 | LF | [5 empty] | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 278 | LF | [5 empty] | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003697 | 17.7099 | -64.8109 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-02 | 1 | EA |  |  | Secondary |  |  | 2-003697
St. Croix | St. Croix - Feeder STX09B | 2-003698 | 17.7103 | -64.8111 | Sector 5 | 1. Repair Existing Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-02 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-003698
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 11.2 | Installation of A2 Framing | 2019-12-02 | 1 | EA | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-02 | 2 | EA | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-02 | 2 | EA | Install |  |  |  |  | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-02 | 2 | EA | Transfer |  |  |  |  | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 149 | LF | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 298 | LF | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 298 | LF | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003701 | 17.7096 | -64.8106 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-02 | 1 | EA | [5 empty] | 2-003701
St. Croix | St. Croix - Feeder STX09B | 2-003706 | 17.7108 | -64.8103 | Sector 5 | 1. Repair Existing Pole Units | 55 | Installation of 1 Anchor | 2019-12-05 | 1 | EA |  | Hand Dig |  |  |  | 2-003706
St. Croix | St. Croix - Feeder STX09B | 2-003706 | 17.7108 | -64.8103 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-05 | 1 | EA | [5 empty] | 2-003706
St. Croix | St. Croix - Feeder STX09B | 2-003707 | 17.7102 | -64.8096 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-05 | 1 | EA |  |  |  | Single Phase | Energized | 2-003707
St. Croix | St. Croix - Feeder STX09B | 2-003707 | 17.7102 | -64.8096 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-05 | 1 | EA | Transfer |  |  |  |  | 2-003707
St. Croix | St. Croix - Feeder STX09B | 2-003707 | 17.7102 | -64.8096 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-05 | 3 | EA | Transfer |  |  |  |  | 2-003707
St. Croix | St. Croix - Feeder STX09B | 2-003707 | 17.7102 | -64.8096 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-05 | 1 | EA | [5 empty] | 2-003707
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-04 | 1 | EA | [5 empty] | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-04 | 2 | EA | [5 empty] | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 28.2 | Cutouts-Installation | 2019-12-04 | 1 | EA | [5 empty] | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-04 | 1 | EA |  |  |  | Single Phase | Energized | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 10 | Removal of Framing (any type of Framing) | 2019-12-04 | 1 | EA | [5 empty] | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 55 | Installation of 1 Anchor | 2019-12-05 | 1 | EA |  | Hand Dig |  |  |  | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003722 | 17.7081 | -64.8096 | Sector 5 | 1. Repair Existing Pole Units | 56 | Straightening of Wooden Poles | 2019-12-05 | 1 | EA | [5 empty] | 2-003722
St. Croix | St. Croix - Feeder STX09B | 2-003915 | 17.7152 | -64.8132 | Sector 5 | 1. Repair Existing Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-06 | 1 | EA | [5 empty] | 2-003915
St. Croix | St. Croix - Feeder STX09B | 2-003915 | 17.7152 | -64.8132 | Sector 5 | 1. Repair Existing Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-06 | 1 | EA |  |  |  | 3-Phase | Energized | 2-003915
St. Croix | St. Croix - Feeder STX09B | 2-003915 | 17.7152 | -64.8132 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-06 | 2 | EA | [5 empty] | 2-003915
St. Croix | St. Croix - Feeder STX09B | 2-003915 | 17.7152 | -64.8132 | Sector 5 | 1. Repair Existing Pole Units | 10 | Removal of Framing (any type of Framing) | 2019-12-06 | 1 | EA | [5 empty] | 2-003915
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-03 | 1 | EA | [5 empty] | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 31 | Streetlights | 2019-12-03 | 1 | EA | Transfer |  |  |  |  | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-03 | 1 | EA | Repair |  |  |  |  | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-03 | 1 | EA |  |  |  | Single Phase | Energized | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-03 | 200 | LF | [5 empty] | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-03 | 200 | LF | [5 empty] | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004592 | 17.7183 | -64.8042 | Sector 5 | 1. Repair Existing Pole Units | 56 | Straightening of Wooden Poles | 2019-12-03 | 1 | EA | [5 empty] | 2-004592
St. Croix | St. Croix - Feeder STX09B | 2-004593 | 17.7183 | -64.8046 | Sector 5 | 1. Repair Existing Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-04 | 1 | EA | Install |  |  |  |  | 2-004593
St. Croix | St. Croix - Feeder STX09B | 2-004593 | 17.7183 | -64.8046 | Sector 5 | 1. Repair Existing Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 150 | LF | [5 empty] | 2-004593
St. Croix | St. Croix - Feeder STX09B | 2-004593 | 17.7183 | -64.8046 | Sector 5 | 1. Repair Existing Pole Units | 56 | Straightening of Wooden Poles | 2019-12-04 | 1 | EA | [5 empty] | 2-004593
St. Croix | St. Croix - Feeder STX09B | 2-011641 | 17.7249 | -64.785 | Sector 3 | 1. Repair Existing Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-03 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-011641 | 17.7249 | -64.785 | Sector 3 | 1. Repair Existing Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-03 | 1 | EA |  |  |  | 3-Phase | Energized
St. Croix | St. Croix - Feeder STX09B | 2-011641 | 17.7249 | -64.785 | Sector 3 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-03 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-011642 | 17.7253 | -64.7851 | Sector | 1. Repair Existing Pole Units | 13.2 | Installation of C1/C2 Framing (C1-4 tangent no guys) | 2019-12-02 | 1 | EA | [5 empty] | 2-011642
St. Croix | St. Croix - Feeder STX09B | 2-011642 | 17.7253 | -64.7851 | Sector | 1. Repair Existing Pole Units | 31 | Streetlights | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-011642
St. Croix | St. Croix - Feeder STX09B | 2-011642 | 17.7253 | -64.7851 | Sector | 1. Repair Existing Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-02 | 1 | EA |  |  |  | 3-Phase | Energized | 2-011642
St. Croix | St. Croix - Feeder STX09B | 2-011642 | 17.7253 | -64.7851 | Sector | 1. Repair Existing Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 180 | LF | [5 empty] | 2-011642
St. Croix | St. Croix - Feeder STX09B | 2-011643 | 17.7256 | -64.7852 | Sector | 1. Repair Existing Pole Units | 56 | Straightening of Wooden Poles | 2019-12-02 | 1 | EA | [5 empty] | 2-011643
St. Croix | St. Croix - Feeder STX09B | 2-011770 | 17.7275 | -64.7846 | Sector 6 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-02 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-02 | 1 | EA |  |  |  | Single Phase | Energized | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-02 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 107 | LF | [5 empty] | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-02 | 214 | LF | [5 empty] | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-02 | 214 | LF | [5 empty] | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019783 | 17.7093 | -64.8105 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-02 | 1 | EA | [5 empty] | 2-003696
St. Croix | St. Croix - Feeder STX09B | 2-019784 | 17.7097 | -64.8102 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-05 | 1 | EA |  |  |  | Single Phase | Energized | 2-003702
St. Croix | St. Croix - Feeder STX09B | 2-019784 | 17.7097 | -64.8102 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-05 | 1 | EA | Transfer |  |  |  |  | 2-003702
St. Croix | St. Croix - Feeder STX09B | 2-019784 | 17.7097 | -64.8102 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-05 | 2 | EA | Install |  |  |  |  | 2-003702
St. Croix | St. Croix - Feeder STX09B | 2-019784 | 17.7097 | -64.8102 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-05 | 1 | EA | [5 empty] | 2-003702
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-02 | 1 | EA | Transfer |  |  | Single Phase | Energized | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 418 | LF | [5 empty] | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 142 | LF | [5 empty] | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-02 | 1 | EA | [5 empty] | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019786 | 17.7101 | -64.8087 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-003709
St. Croix | St. Croix - Feeder STX09B | 2-019788 | 17.708 | -64.8085 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-06 | 1 | EA |  |  |  | Single Phase | Energized | 2-003732
St. Croix | St. Croix - Feeder STX09B | 2-019788 | 17.708 | -64.8085 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-003732
St. Croix | St. Croix - Feeder STX09B | 2-019788 | 17.708 | -64.8085 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-06 | 2 | EA | Install |  |  |  |  | 2-003732
St. Croix | St. Croix - Feeder STX09B | 2-019788 | 17.708 | -64.8085 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 130 | LF | [5 empty] | 2-003732
St. Croix | St. Croix - Feeder STX09B | 2-019788 | 17.708 | -64.8085 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-06 | 1 | EA | [5 empty] | 2-003732
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-02 | 1 | EA |  |  |  | Single Phase | Energized | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-02 | 1 | EA | Transfer |  |  |  |  | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-02 | 2 | EA |  |  | Secondary |  |  | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-02 | 278 | LF | [5 empty] | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-02 | 1 | EA | Install |  |  |  |  | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019789 | 17.7083 | -64.8093 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-02 | 1 | EA | [5 empty] | 2-003723
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 76.4 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, Energzd | 2019-12-06 | 2 | EA | Transfer |  |  | Single Phase | Energized | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-06 | 1 | EA | Transfer |  |  |  |  | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 276 | LF | [5 empty] | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 520 | LF | [5 empty] | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-06 | 159 | LF | [5 empty] | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-06 | 1 | EA | [5 empty] | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-019790 | 17.7089 | -64.8088 | Sector 5 | 2. New Wooden Pole Units | 77 | Compression Splice(all sizes)-Install | 2019-12-06 | 1 | EA |  |  | Primary |  |  | 2-003726
St. Croix | St. Croix - Feeder STX09B | 2-020056 | 17.7255 | -64.7831 | Sector 3 | 1. Repair Existing Pole Units | 11.5 | Installation of A5 Framing | 2019-12-05 | 1 | EA | [5 empty] | 2-020056
St. Croix | St. Croix - Feeder STX09B | 2-020056 | 17.7255 | -64.7831 | Sector 3 | 1. Repair Existing Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-05 | 150 | LF | [5 empty] | 2-020056
St. Croix | St. Croix - Feeder STX09B | 2-020056 | 17.7255 | -64.7831 | Sector 3 | 1. Repair Existing Pole Units | 88 | Remove Wire Run | 2019-12-05 | 150 | LF | [5 empty] | 2-020056
St. Croix | St. Croix - Feeder STX09B | 2-020056 | 17.7255 | -64.7831 | Sector 3 | 1. Repair Existing Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-05 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-020056
St. Croix | St. Croix - Feeder STX09B | 2-020063 | 17.7262 | -64.7831 | Sector 6 | 1. Repair Existing Pole Units | 55 | Installation of 1 Anchor | 2019-12-05 | 1 | EA |  | Hand Dig |  |  |  | 2-020063
St. Croix | St. Croix - Feeder STX09B | 2-020063 | 17.7262 | -64.7831 | Sector 6 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-05 | 1 | EA | [5 empty] | 2-020063
St. Croix | St. Croix - Feeder STX09B | 2-020063 | 17.7262 | -64.7831 | Sector 6 | 1. Repair Existing Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-05 | 1 | EA | [5 empty] | 2-020063
St. Croix | St. Croix - Feeder STX09B | 2-020063 | 17.7262 | -64.7831 | Sector 6 | 1. Repair Existing Pole Units | 76.3 | Transfer OR INSTALL of Sngle Phase Condctrs-DeadEnd, De-Enrg | 2019-12-05 | 1 | EA | Install |  |  | Single Phase | De-energized | 2-020063
St. Croix | St. Croix - Feeder STX09B | 2-020063 | 17.7262 | -64.7831 | Sector 6 | 1. Repair Existing Pole Units | 11.5 | Installation of A5 Framing | 2019-12-05 | 1 | EA | [5 empty] | 2-020063
St. Croix | St. Croix - Feeder STX09B | 2-023803 | 17.7304 | -64.7828 | Sector 6 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-03 | 1 | EA | [5 empty] | 2-023803
St. Croix | St. Croix - Feeder STX09B | 2-023803 | 17.7304 | -64.7828 | Sector 6 | 1. Repair Existing Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-03 | 1 | EA |  |  |  | Single Phase | Energized | 2-023803
St. Croix | St. Croix - Feeder STX09B | 2-023803 | 17.7304 | -64.7828 | Sector 6 | 1. Repair Existing Pole Units | 10 | Removal of Framing (any type of Framing) | 2019-12-04 | 1 | EA | [5 empty] | 2-023803
St. Croix | St. Croix - Feeder STX09B | 2-023829 | 17.7296 | -64.7833 | Sector 6 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-02 | 1 | EA | [5 empty] | 2-023829
St. Croix | St. Croix - Feeder STX09B | 2-023829 | 17.7296 | -64.7833 | Sector 6 | 1. Repair Existing Pole Units | 75.4 | Transfer of Sngle Phase Condctrs-Tangent(incl neutral)Energz | 2019-12-02 | 1 | EA |  |  |  | Single Phase | Energized | 2-023829
St. Croix | St. Croix - Feeder STX09B | 2-023829 | 17.7296 | -64.7833 | Sector 6 | 1. Repair Existing Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-02 | 1 | EA | Install |  |  |  |  | 2-023829
St. Croix | St. Croix - Feeder STX09B | 2-023829 | 17.7296 | -64.7833 | Sector 6 | 1. Repair Existing Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-02 | 1 | EA | [5 empty] | 2-023829
St. Croix | St. Croix - Feeder STX09B | 2-024535 | 17.7274 | -64.7858 | Sector 6 | 2. New Wooden Pole Units | 155 | Installation of 55 Ft. Wood Poles | 2019-12-06 | 1 | EA |  | Hand Dig |  |  |  | 2-024535
St. Croix | St. Croix - Feeder STX09B | 2-024535 | 17.7274 | -64.7858 | Sector 6 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-024535
St. Croix | St. Croix - Feeder STX09B | 2-024695 | 17.7286 | -64.7862 | Sector 6 | 2. New Wooden Pole Units | 155 | Installation of 55 Ft. Wood Poles | 2019-12-06 | 1 | EA |  | Hand Dig |  |  |  | 2-024695
St. Croix | St. Croix - Feeder STX09B | 2-024695 | 17.7286 | -64.7862 | Sector 6 | 2. New Wooden Pole Units | 11.6 | Installation of A6 Framing | 2019-12-06 | 1 | EA | [5 empty] | 2-024695
St. Croix | St. Croix - Feeder STX09B | 2-024695 | 17.7286 | -64.7862 | Sector 6 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-06 | 1 | EA | Install |  |  |  |  | 2-024695
St. Croix | St. Croix - Feeder STX09B | 2-024695 | 17.7286 | -64.7862 | Sector 6 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-06 | 1 | EA | [5 empty] | 2-024695
St. Croix | St. Croix - Feeder STX09B | 2-037694 | 17.7245 | -64.7806 | Sector 3 | 2. New Wooden Pole Units | 135 | Installation of 35 Ft. Wood Poles | 2019-12-07 | 1 | EA |  | Hand Dig |  |  |  | 2-020018
St. Croix | St. Croix - Feeder STX09B | 2-037694 | 17.7245 | -64.7806 | Sector 3 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-020018
St. Croix | St. Croix - Feeder STX09B | 2-037694 | 17.7245 | -64.7806 | Sector 3 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-020018
St. Croix | St. Croix - Feeder STX09B | 2-037694 | 17.7245 | -64.7806 | Sector 3 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 90 | LF | [5 empty] | 2-020018
St. Croix | St. Croix - Feeder STX09B | 2-037694 | 17.7245 | -64.7806 | Sector 3 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 140 | LF | [5 empty] | 2-020018
St. Croix | St. Croix - Feeder STX09B | 2-037695 | 17.7245 | -64.781 | Sector 3 | 2. New Wooden Pole Units | 135 | Installation of 35 Ft. Wood Poles | 2019-12-07 | 1 | EA |  | Hand Dig |  |  |  | 2-020017
St. Croix | St. Croix - Feeder STX09B | 2-037695 | 17.7245 | -64.781 | Sector 3 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-020017
St. Croix | St. Croix - Feeder STX09B | 2-037695 | 17.7245 | -64.781 | Sector 3 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-020017
St. Croix | St. Croix - Feeder STX09B | 2-037695 | 17.7245 | -64.781 | Sector 3 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 100 | LF | [5 empty] | 2-020017
St. Croix | St. Croix - Feeder STX09B | 2-037695 | 17.7245 | -64.781 | Sector 3 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020017
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 135 | Installation of 35 Ft. Wood Poles | 2019-12-07 | 1 | EA |  | Hand Dig |  |  |  | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-07 | 1 | EA | [5 empty] | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-07 | 1 | EA | Transfer |  |  |  |  | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-07 | 1 | EA | Install |  |  |  |  | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 145 | LF | [5 empty] | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-037696 | 17.7259 | -64.7801 | Sector 3 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-07 | 110 | LF | [5 empty] | 2-020007
St. Croix | St. Croix - Feeder STX09B | 2-039429 | 17.7308 | -64.783 | Sector 6 | 2. New Wooden Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-03 | 1 | EA | Install |  |  |  |  | 2-024598
St. Croix | St. Croix - Feeder STX09B | 2-039429 | 17.7308 | -64.783 | Sector 6 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-03 | 1 | EA | [5 empty] | 2-024598
St. Croix | St. Croix - Feeder STX09B | 2-039819 | 17.7257 | -64.7831 | Sector 5 | 1. Repair Existing Pole Units | 11.1 | Installation of A1 Framing | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-039819 | 17.7257 | -64.7831 | Sector 5 | 1. Repair Existing Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-05 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-039819 | 17.7257 | -64.7831 | Sector 5 | 1. Repair Existing Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-05 | 1 | EA | Install
St. Croix | St. Croix - Feeder STX09B | 2-039819 | 17.7257 | -64.7831 | Sector 5 | 1. Repair Existing Pole Units | 80.2 | Upgrade of Conductors (1/0 to 397 AAC) De-energized x Cond | 2019-12-05 | 360 | LF
St. Croix | St. Croix - Feeder STX09B | 2-039819 | 17.7257 | -64.7831 | Sector 5 | 1. Repair Existing Pole Units | 88 | Remove Wire Run | 2019-12-05 | 360 | LF
St. Croix | St. Croix - Feeder STX09B | 2-040351 | 17.7274 | -64.7849 | Sector 6 | 1. Repair Existing Pole Units | 11.2 | Installation of A2 Framing | 2019-12-02 | 1 | EA
St. Croix | St. Croix - Feeder STX09B | 2-042394 | 17.7281 | -64.7859 | Sector 6 | 1. Repair Existing Pole Units | 57 | Grounding for Poles including existing wood | 2019-12-02 | 1 | EA | Repair |  |  |  |  | 2-024697
St. Croix | St. Croix - Feeder STX09B | 2-043371 | 17.7115 | -64.829 | Sector 5 | 1. Repair Existing Pole Units | 55 | Installation of 1 Anchor | 2019-12-07 | 1 | EA |  | Hand Dig |  |  |  | 2-043371
St. Croix | St. Croix - Feeder STX09B | 2-043371 | 17.7115 | -64.829 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-07 | 2 | EA | [5 empty] | 2-043371
St. Croix | St. Croix - Feeder STX09B | 2-043372 | 17.7109 | -64.8288 | Sector 5 | 1. Repair Existing Pole Units | 55 | Installation of 1 Anchor | 2019-12-07 | 1 | EA |  | Hand Dig |  |  |  | 2-043372
St. Croix | St. Croix - Feeder STX09B | 2-043372 | 17.7109 | -64.8288 | Sector 5 | 1. Repair Existing Pole Units | 54 | Installation of 1 Guy | 2019-12-07 | 2 | EA | [5 empty] | 2-043372
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 28.2 | Cutouts-Installation | 2019-12-04 | 3 | EA | [5 empty] | 2-005835
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 75.2 | Transfer of 3-Phase Conductors-Tangent(incl neutral)Energizd | 2019-12-04 | 1 | EA |  |  |  | 3-Phase | Energized | 2-005835
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 76.1 | Transfer OR INSTALL of 3-Phase Condctrs-DeadEnd, De-energzd | 2019-12-04 | 1 | EA | Transfer |  |  | 3-Phase | De-energized | 2-005835
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 920 | LF | [5 empty] | 2-005835
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 54 | Installation of 1 Guy | 2019-12-04 | 2 | EA | [5 empty] | 2-005835
St. Croix | St. Croix - Feeder STX10A | 2-038127 | 17.7596 | -64.7494 | Sector 4A | 2. New Wooden Pole Units | 101.5 | Top Pole | 2019-12-04 | 1 | EA | [5 empty] | 2-005835
St. Croix | St. Croix - Feeder STX10B | 2-040070 | 17.7395 | -64.8455 | Sector 8 | 2. New Wooden Pole Units | 31 | Streetlights | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-027110
St. Croix | St. Croix - Feeder STX10B | 2-040070 | 17.7395 | -64.8455 | Sector 8 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-027110
St. Croix | St. Croix - Feeder STX10B | 2-040070 | 17.7395 | -64.8455 | Sector 8 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-027110
St. Croix | St. Croix - Feeder STX10B | 2-040070 | 17.7395 | -64.8455 | Sector 8 | 2. New Wooden Pole Units | 79 | Re-sagging of Lines (per Lf) | 2019-12-04 | 166 | LF | [5 empty] | 2-027110
St. Croix | St. Croix - Feeder STX10B | 2-040070 | 17.7395 | -64.8455 | Sector 8 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-04 | 1 | EA | [5 empty] | 2-027110
St. Croix | St. Croix - Feeder STX10B | 2-040071 | 17.7393 | -64.845 | Sector 8 | 2. New Wooden Pole Units | 32.1 | Single Transformers (10kVa-75kVa) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-027134
St. Croix | St. Croix - Feeder STX10B | 2-040071 | 17.7393 | -64.845 | Sector 8 | 2. New Wooden Pole Units | 78 | Service Conductors to Customers (Each) | 2019-12-04 | 1 | EA | Transfer |  |  |  |  | 2-027134
St. Croix | St. Croix - Feeder STX10B | 2-040071 | 17.7393 | -64.845 | Sector 8 | 2. New Wooden Pole Units | 80.1 | Upgrade of Conductors (1/0 to 397 AAC) Energized x Conduct | 2019-12-04 | 135 | LF | [5 empty] | 2-027134
St. Croix | St. Croix - Feeder STX10B | 2-040071 | 17.7393 | -64.845 | Sector 8 | 2. New Wooden Pole Units | 101 | Removal of Old Wooden Poles | 2019-12-04 | 1 | EA | [5 empty] | 2-027134
St. Croix | St. Croix - Feeder STX10B | 2-040071 | 17.7393 | -64.845 | Sector 8 | 2. New Wooden Pole Units | 88 | Remove Wire Run | 2019-12-04 | 405 | LF | [5 empty] | 2-027134